PAGE  
13

REFERRAL OF A PROJECT FOR A DECISION ON THE NEED FOR ASSESSMENT UNDER THE ENVIRONMENT EFFECTS ACT 1978
REFERRAL FORM

The Environment Effects Act 1978 provides that where proposed works may have a significant effect on the environment, either a proponent or a decision-maker may refer these works (or project) to the Minister for Planning for advice as to whether an Environment Effects Statement (EES) is required.  
This Referral Form is designed to assist in the provision of relevant information in accordance with the Ministerial Guidelines for assessment of environmental effects under the Environment Effects Act 1978 (Seventh Edition, 2006).  Where a decision-maker is referring a project, they should complete a Referral Form to the best of their ability, recognising that further information may need to be obtained from the proponent.

It will generally be useful for a proponent to discuss the preparation of a Referral with the Department of Planning and Community Development (DPCD) before submitting the Referral.  
If a proponent believes that effective measures to address environmental risks are available, sufficient information could be provided in the Referral to substantiate this view.   In contrast, if a proponent considers that further detailed environmental studies will be needed as part of project investigations, a more general description of potential effects and possible mitigation measures in the Referral may suffice.

In completing a Referral Form, the following should occur:

· Mark relevant boxes by changing the font colour of the ‘cross’ to black and provide additional information and explanation where requested.   

· As a minimum, a brief response should be provided for each item in the Referral Form, with a more detailed response provided where the item is of particular relevance.   Cross-references to sections or pages in supporting documents should also be provided.   Information need only be provided once in the Referral Form, although relevant cross-referencing should be included.   

· Responses should honestly reflect the potential for adverse environmental effects.   A Referral will only be accepted for processing once DPCD is satisfied that it has been completed appropriately.

· Potentially significant effects should be described in sufficient detail for a reasonable conclusion to be drawn on whether the project could pose a significant risk to environmental assets.    Responses should include:

-
a brief description of potential changes or risks to environmental assets resulting from the project;  

-
available information on the likelihood and significance of such changes;
-
the sources and accuracy of this information, and associated uncertainties.

· Any attachments, maps and supporting reports should be provided in a secure folder with the Referral Form.

· A CD or DVD copy of all documents will be needed, especially if the size of electronic documents may cause email difficulties.   Individual documents should not exceed 2MB.
· A completed form would normally be between 15 and 30 pages in length.  Responses should not be constrained by the size of the text boxes provided.  Text boxes should be extended to allow for an appropriate level of detail.
· The form should be completed in MS Word and not handwritten.   

The party referring a project should submit a covering letter to the Minister for Planning together with a completed Referral Form, attaching supporting reports and other information that may be relevant.   This should be sent to:

Postal address




Couriers
Minister for Planning   



Minister for Planning  


PO Box 500
  




Level 17, 8 Nicholson Street

EAST MELBOURNE  VIC  3002


EAST MELBOURNE  VIC  3002
In addition to the submission of the hardcopy to the Minister, separate submission of an electronic copy of the Referral via email to ees.referrals@dpcd.vic.gov.au is encouraged.  This will assist the timely processing of a referral.

______________________________________________________________

PART 1   PROPONENT DETAILS, PROJECT DESCRIPTION & LOCATION

1.  Information on proponent and person making Referral
	Name of Proponent:





	WestWind Energy Pty Ltd

	Authorised person for proponent: 

	Mr Tobias Geiger

	Position:
	General Manager

	Postal address:

	Office 5, Level 1 Nexus Centre 12-14 Prince St Gisborne VIC 3437

	Email address:


	Geiger@w-wind.com.au

	Phone number:
	(03) 5421 9922

	Facsimile number:
	(03) 5428 3100

	Person who prepared Referral:
	Mr Phil Burn

	Position:
	Project Developer

	Organisation:
	WestWind Energy Pty Ltd

	Postal address:

	Office 5, Level 1 Nexus Centre 12-14 Prince St Gisborne VIC 3437

	Email address:


	Burn@w-wind.com.au

	Phone number:
	(03) 5421 9977

	Facsimile number:
	(03) 5428 3100

	Available industry & environmental expertise: (areas of ‘in-house’ expertise & consultancy firms engaged for project)
	In house: design/layout, GIS, mapping, planning and environment, project management
Consultancy firms:

Brett Lane and Associates: Flora and fauna
Heritage Insight:  Aboriginal cultural heritage and heritage 
Stephen Brown Environments / Truescape:  Landscape and Visual Assessment.


2.  Project – brief outline
	Project title:  MOORABOOL WIND PROJECT

	

	Project location: Refer to attached.
Coordinates of Wind Project Sections (Map Grid of Australia, Zone 55):
Ballark Section:
250667E 5819258N
Bungeeltap:

251065E 5828734N
Location description: (kilometres; measured from closest wind turbine to geographic location of Post Office at each centre)
· 67.11km west of Melbourne
· 46.7km north of Geelong 

· 27.01km south east of Ballarat
· 4.57km  south of Ballan

	

	

	Short project description (few sentences):



	

	Moorabool Wind Project is a 128 turbine wind energy facility.  The project site is split into two sections with the Bungeeltap (northern) Section hosting 58 turbines and the Ballark (southern) Section hosting 70.  
The proposal will produce 784 GWh of renewable electricity per year.   This is equal to the supply of approximately 147,091 average Victorian households.
It is expected that the project will create in the order of 100 full time positions during the construction phase and maintain these positions for a period of two to three years.  A further 25 to 30 full time and ongoing positions will be filled to operate the wind farm.

Total cost of the project is estimated to be $750,000,000 of which approximately 20% or $150,000,000 is likely to be spent locally.

	


3.  Project description


	Aim/objectives of the project (what is its purpose / intended to achieve?):

	To supply 784 GWh of 100% renewable electricity to the National Electricity Grid to supply existing and proposed demand each year.

	








	Background/rationale of project (describe the context / basis for the proposal, eg.  for siting):

· Excellent wind resource

· Access to electricity infrastructure

· Limited environmental constraints

· Limited sensitive non-rural land uses

· Supportive host landholders

· Access to local road network

· Regional advantages with regard to WestWind Energy’s other projects

	

	

	Main components of the project (nature, siting & approx.  dimensions; attach A4/A3 plan(s) of site layout if available):

Refer to Section 4 of attached Notification Report. 

	

	

	Ancillary components of the project (eg.  upgraded access roads, new high-pressure gas pipeline; off-site resource processing):





	· Upgraded access roads.
· Upgrade electricity infrastructure.
· Local and regional employment.


	







	Key construction activities:



	· Upgrade of access points to the project site
· Upgrade of existing access tracks and construction of new access tracks within the project site

· Excavation for and construction of foundations for wind turbines

· Erection of wind turbines

· Underground cables linking turbines with the switchyards

· Construction of hardstands to assist in construction and maintenence
· Construction of switch yards and substations
· Establishment of temporary concrete batching plant and construction compound.

	

	Key operational activities:


	· Operation of wind energy facility and ongoing maintenance of infrastructure.

	

	Key decommissioning activities (if applicable):


· Removal of turbines, tower and blades from the site for recycling
· Grinding down of foundations to below natural ground level and or filling with topsoil unless the landholder wishes to retain them.
· Removal of access tracks and hardstand – unless the landholder wishes to retain them


	

	Is the project an element or stage in a larger project?      

	(  No    (  Yes   If yes, please describe: the overall project strategy for delivery of all stages and components; the concept design for the overall project; and the intended scheduling of the design and development of project stages).

It is proposed to construct both sections of the project concurrently.  However a staged approached may be employed.  This is yet to be determined.

	

	

	Is the project related to any other past, current or mooted proposals in the region?


	(  No    (Yes   If yes, please identify related proposals.




	


4.  Project alternatives

	Brief description of key alternatives considered to date (eg.  locational, scale or design alternatives.   If relevant, attach A4/A3 plans):   

	Refer to Section 2 of the attached Notification Report.

	

	Brief description of key alternatives to be further investigated (if known):

	

	


5.  Proposed exclusions

	Statement of reasons for the proposed exclusion of any ancillary activities or further project stages from the scope of the project for assessment:   

	The project may determine electricity network connection options which are available.  However, the impacts of the various options will not be assessed.  WestWind Energy has little control over the final alignment of powerlines exiting the site.

	


6.  Project implementation

	Implementing organisation (ultimately responsible for project, ie.  not contractor):

WestWind Energy Pty Ltd

	

	Implementation timeframe:

	Refer to Section 4.2 of the attached Notification Report.


	Proposed staging (if applicable):

No staging proposed.

	


7.  Description of proposed site or area of investigation

	Has a preferred site for the project been selected?      

	(  No    (Yes   If no, please describe area for investigation.

	If yes, please describe the preferred site in the next items (if practicable).

	

	








	General description of preferred site, (including aspects such as topography/landform, soil types/degradation, drainage/ waterways, native/exotic vegetation cover, physical features, built structures, road frontages; attach ground-level photographs of site, as well as A4/A3 aerial/satellite image(s) and/or map(s) of site & surrounds, showing project footprint):



	

	Refer to Section 3 of the attached Notification Report.

	

	

	

	Site area (if known):  5333 (hectares)            

	

	Route length (for linear infrastructure) ……………….   (km)    and width ………………..   (m)     

	

	Current land use and development:

	

	Refer to Section 3 of the attached Notification Report. 

	

	Description of local setting (eg.  adjoining land uses, road access, infrastructure, proximity to residences & urban centres):

Farming, agriculture predominately grazing, cropping and timber production.  National and State Forest in general area.

Refer to Section 3 of attached Notification Report

	

	








	Planning context (eg.  strategic planning, zoning & overlays, management plans):

	

	All within Farming Zone.  Refer to Section 6 of attached Notification Report.








	Local government area(s):

	Moorabool Shire Council


8.   Existing environment

	Overview of key environmental assets/sensitivities in project area and vicinity                  (cf.  general description of project site/study area under section 7):

	

	Refer to Section 9 of the attached Notification Report.

	

	


9.  Land availability and control


	Is the proposal on, or partly on, Crown land?

	(  No    (Yes   If yes, please provide details.
However a number of Government Roads exist within the site boundary.





	








	Current land tenure (provide plan, if practicable):

	
Private land







	Intended land tenure (tenure over or access to project land):


	
Commercial lease over private land






	Other interests in affected land (eg.  easements, native title claims):

	
Easements for transmission of electricity.



10.  Required approvals






	State and Commonwealth approvals required for project components (if known):

	State:

· Planning Permit is required for the use and development of a wind energy facility and the removal of native vegetation.

· A Cultural Heritage Management Plan will be required.

· The EPA may require a ‘works approval’ for the concrete batching plant component (to be determined)

· Approval under the Flora and Fauna Guarantee Act 1988 may be required to disturb listed native plants from the roadside.
Commonwealth:
· a referral to the Commonwealth Department of the Environment and Heritage has been forwarded to determine if the proposal constitutes a ‘controlled action’ under the EPBC Act.

	

	Have any applications for approval been lodged?

	(  No    (Yes   If yes, please provide details.

	

	Approval agency consultation (agencies with whom the proposal has been discussed):

	Department of Planning and Community Development, Ballarat Office – Jason Taylor, Sarah McMaster

	

	Other agencies consulted:

	

	Moorabool Shire Council to be consulted.


PART 2   POTENTIAL ENVIRONMENTAL EFFECTS

11.    Potentially significant environmental effects

	Overview of potentially significant environmental effects (identify key potential effects and comment on their significance and likelihood, as well as key uncertainties):

	

	Refer to Section 10 of the attached Notification Report.

	

	

	


12.    Native vegetation, flora and fauna

Native vegetation

	Is any native vegetation likely to be cleared or otherwise affected by the project?

(  NYD    ( No    ( Yes   If yes, answer the following questions and attach details.

	

	What investigation of native vegetation in the project area has been done?  

Desktop study and spring flora survey of site and adjoining roadsides.  See Attachment 3 of the attached Notification Report.

	

	What is the maximum area of native vegetation that may need to be cleared?         

             ( NYD                Estimated area ……………………….(hectares)

	

	How much of this clearing would be authorised under a Forest Management Plan or Fire Protection Plan?

( N/A       ……………………….  approx.  percent (if applicable)

	

	Which Ecological Vegetation Classes may be affected? (if not authorised as above)

( NYD   (  Preliminary/detailed assessment completed.     If assessed, please list.

Plains Grassland, EVC – 132.

	

	Have potential vegetation offsets been identified as yet?

(  NYD    ( Yes   If yes, please briefly describe.

	

	Other information/comments? (eg.  accuracy of information)

	Please note:  The project has been carefully designed to avoid the removal of native vegetation.  However, it is possible that very small amounts of vegetation will have to be removed from around existing access points to allow for safe access to the site during construction.

	


Flora and fauna

	What investigations of flora and fauna in the project area have been done? 

Preliminary flora and fauna survey and initial Wedge-tailed Eagle Survey.

Refer to Section 9 of the attached Notification Report.

	

	Have any threatened or migratory species or listed communities been recorded from the local area?  

(  NYD    ( No    (  Yes   If yes, please:
· List species/communities recorded in recent surveys and/or past observations.  

	· Indicate which of these have been recorded from the project site or nearby.

	Refer to Section 9 of the attached Notification Report.

	

	If known, what threatening processes affecting these species or communities may be exacerbated by the project? (eg.  loss or fragmentation of habitats)  Please describe briefly.

	Refer to Section 9 of the attached Notification Report.

	

	Are any threatened or migratory species, other species of conservation significance or listed communities potentially affected by the project? 

(  NYD    (   No    (  Yes   If yes, please:

· List these species/communities:

	· Indicate which species or communities could be subject to a major or extensive impact (including the loss of a genetically important population of a species listed or nominated for listing) Comment on likelihood of effects and associated uncertainties, if practicable.

	

	

	

	Is mitigation of potential effects on indigenous flora and fauna proposed?

(  NYD   (   No     (  Yes   If yes, please briefly describe.

	

	Other information/comments? (eg.  accuracy of information)

Refer to Section 9 of the attached Notification Report.

	


13.   Water environments

	Will the project require significant volumes of fresh water (eg.  > 1 Gl/yr)?

(  NYD    (  No    (  Yes   If yes, indicate approximate volume and likely source.

	

	

	Will the project discharge waste water or runoff to water environments?

(  NYD    (  No    (  Yes   If yes, specify types of discharges and which environments.

	

	Are any waterways, wetlands, estuaries or marine environments likely to be affected?  

(  NYD     (  No     (  Yes   If yes, specify which water environments, answer the following questions and attach any relevant details.

	

	

	Are any of these water environments likely to support threatened or migratory species? 

(  NYD      (  No    (  Yes   If yes, specify which water environments.

	

	Are any potentially affected wetlands listed under the Ramsar Convention or                      in 'A Directory of Important Wetlands in Australia'?  

(  NYD     (  No     ( Yes   If yes, please specify.

	

	Could the project affect streamflows?

(  NYD    (  No    (  Yes   If yes, briefly describe implications for streamflows.

	

	

	Could regional groundwater resources be affected by the project?

(  NYD    (  No    (  Yes   If yes, describe in what way.

	

	Could environmental values (beneficial uses) of water environments be affected?  

(  NYD    (  No    (  Yes   If yes, identify waterways/water bodies and beneficial uses (as recognised by State Environment Protection Policies)

	

	Could aquatic, estuarine or marine ecosystems be affected by the project?

(  NYD     (  No    (  Yes   If yes, describe in what way.

	

	Is there a potential for extensive or major effects on the health or biodiversity of aquatic, estuarine or marine ecosystems over the long-term?   
(  No     (  Yes   If yes, please describe.  Comment on likelihood of effects and associated uncertainties, if practicable.

	

	Is mitigation of potential effects on water environments proposed?

(  NYD     (  No   (  Yes   If yes, please briefly describe.

	

	Other information/comments? (eg.  accuracy of information)

	

	Refer to Section 10.8 of the attached Notification Report. 


14.   Landscape and soils 

Landscape

	Has a preliminary landscape assessment been prepared? 

(  No    (  Yes   If yes, please attach.

	Is the project to be located either within or near an area that is: 

· Subject to a Landscape Significance Overlay or Environmental Significance Overlay?

(  NYD     (  No    (  Yes   If yes, provide plan showing footprint relative to overlay.

	

	· Identified as of regional or State significance in a reputable study of landscape values?

(  NYD     (  No    (  Yes   If yes, please specify.

	

	· Within or adjoining land reserved under the National Parks Act 1975 ?

(  NYD     (  No    ( Yes   If yes, please specify.

	

	· Within or adjoining other public land used for conservation or recreational purposes ?

(  NYD     (  No    (  Yes   If yes, please specify.

Bungal State Forest is located on the other side of the East Moorabool River from the Ballark Section of the project.    

	

	Is any clearing vegetation or alteration of landforms likely to affect landscape values?

(  NYD     (  No   (  Yes   If yes, please briefly describe.

	

	Is there a potential for effects on landscape values of regional or State importance?          (  NYD     (  No   (  Yes     Please briefly explain response.

	

	Is mitigation of potential landscape effects proposed?

(  NYD     (  No   (  Yes   If yes, please briefly describe.

	

	Other information/comments? (eg.  accuracy of information)

	Refer to Section 7 of the attached Notification Report.

	


Note: A preliminary landscape assessment is a specific requirement for a referral of a wind energy facility.   This should provide a description of:

· The landscape character of the site and surrounding areas including landform, vegetation types and coverage, water features, any other notable features and current land use;

· The location of nearby dwellings, townships, recreation areas, major roads, above-ground utilities, tourist routes and walking tracks;

· Views to the site and to the proposed location of wind turbines from key vantage points (including views showing existing nearby dwellings and views from major roads, walking tracks and tourist routes) sufficient to give a sense of the overall site in its setting.

Soils

	Is there a potential for effects on land stability, acid sulphate soils or highly erodible soils? 

(  NYD     (  No   (  Yes   If yes, please briefly describe.

	

	Are there geotechnical hazards that may either affect the project or be affected by it? 

(  NYD     (  No   (  Yes   If yes, please briefly describe.

	

	Other information/comments? (eg.  accuracy of information)

	

	


15.   Social environments 


	Is the project likely to generate significant volumes of road traffic, during construction or operation?

(  NYD    (  No   (  Yes   If yes, provide estimate of traffic volume(s) if practicable.

	

	Is there a potential for significant effects on the amenity of residents, due to emissions of dust or odours or changes in visual, noise or traffic conditions?

(  NYD    (  No   (  Yes   If yes, briefly describe the nature of the changes in amenity conditions and the possible areas affected.

	

	Noise and shadow flicker assessments are to be carried out shortly.


	Is there a potential for exposure of a human community to health or safety hazards, due to emissions to air or water or noise or chemical hazards or associated transport?
(  NYD    (  No   (  Yes   If yes, briefly describe the hazards and possible implications.

	

	

	Is there a potential for displacement of residences or severance of residential access to community resources due to the proposed development?

(  NYD    (  No   (  Yes   If yes, briefly describe potential effects.

	

	

	Are non-residential land use activities likely to be displaced as a result of the project?   

(  NYD    (  No   (  Yes   If yes, briefly describe the likely effects.

	

	Do any expected changes in non-residential land use activities have a potential to cause adverse effects on local residents/communities, social groups or industries?

(  NYD    (  No   (  Yes   If yes, briefly describe the potential effects.

	

	Is mitigation of potential social effects proposed?

(  NYD     (  No   (  Yes   If yes, please briefly describe.

	

	Other information/comments? (eg.  accuracy of information)

	

	


Cultural heritage

	Have relevant Indigenous organisations been consulted on the occurrence of Aboriginal cultural heritage within the project area? 

(    No     If no, list any organisations that it is proposed to consult.

AAV in the absence of a Registered Aboriginal Party (RAP).

Wathaurong Aboriginal Corporation and Ballarat and District Cooperative who are seeking to become the RAP for the area.
(    Yes   If yes, list the organisations so far consulted.   

	

	What investigations of cultural heritage in the project area have been done? 

(attach details of method and results of any surveys for the project & describe their accuracy)

Preliminary Heritage Assessment 

Initial Field Survey Report

	

	Is any Aboriginal cultural heritage known from the project area?  

(  NYD    (  No    (  Yes   If yes, briefly describe:
· Any sites listed on the AAV Site Register

· Sites or  areas of sensitivity recorded in recent surveys from the project site or nearby 

· Sites or  areas of sensitivity identified by representatives of Indigenous organisations

	Refer to Section 8 of attached Notification Report.

	

	Are there any cultural heritage places listed on the Heritage Register or the Archaeological Inventory under the Heritage Act 1995 within the project area?  

(  NYD    (  No    (  Yes   If yes, please list.

	

	Is mitigation of potential cultural heritage effects proposed?

(  NYD     (  No   (  Yes   If yes, please briefly describe.

	

	Other information/comments? (eg.  accuracy of information)

	Refer to Section 8 of the attached Notification Report and Attachment 2. 


16.     Energy, wastes & greenhouse gas emissions

	What are the main sources of energy that the project facility would consume/generate?

	(  Electricity network.   If possible, estimate power output of renewable electricity per year:  784 GWh

	(  Natural gas network.  If possible, estimate gas requirement/output  …………………...

	(  Generated on-site.   If possible, estimate power capacity/output ……………………….

	(  Other.   Please describe.

	Please add any relevant additional information.

	

	What are the main forms of waste that would be generated by the project facility?

	(  Wastewater.  Describe briefly.

	(  Solid chemical wastes.  Describe briefly.

	(  Excavated material.  Describe briefly.

	(  Other.  Describe briefly.

	Please provide relevant further information, including proposed management of wastes.

	

	What level of greenhouse gas emissions is expected to result directly from operation of the project facility?

(  Less than 50,000 tonnes of CO2 equivalent per annum

(  Between 50,000 and 100,000 tonnes of CO2 equivalent per annum

(  Between 100,000 and 200,000 tonnes of CO2 equivalent per annum

(  More than 200,000 tonnes of CO2 equivalent per annum

	Please add any relevant additional information, including any identified mitigation options.

	Due to the nature of the project, any greenhouse gas emissions emitted as a result of the manufacture of components, transportation and construction are likely to be offset within 6 months of operation.



17.   Other environmental issues

	Are there any other environmental issues arising from the proposed project?

(  No    (  Yes   If yes, briefly describe.

	

	


18.   Environmental management

	What measures are currently proposed to avoid, minimise or manage the main potential adverse environmental effects?  (if not already described above)

	(   Siting:  Please describe briefly

	

	(   Design: Please describe briefly

To date the proposed layout and the siting of infrastructure has largely avoided native vegetation and other constraints.  The layout will be refined in response to the findings of further investigations

	

	(   Environmental management: Please describe briefly.

For such proposals detailed construction and operational Environmental Management Plans are commonplace and are always a requirement of any planning permit.


	

	(   Other:  Please describe briefly

	

	Add any relevant additional information.

	


19.   Other activities

	Are there any other activities in the vicinity of the proposed project that have a potential for cumulative effects?

(  NYD    (  No    (  Yes   If yes, briefly describe.

	

	WestWind’s Lal Lal wind farm proposal is located approximately 8.17 km to the west (when measured from nearest proposed turbine to nearest proposed turbine at Moorabool).  Cumulative impact is expected to be negligible.


20.   Investigation program

Study program

	Have any environmental studies not referred to above been conducted for the project?

(  No    (  Yes   If yes, please list here and attach if relevant.

Field work has taken place for an additional wedge-tail eagle survey, threatened fauna survey and bird utilisation survey.

	

	

	Has a program for future environmental studies been developed?

(  No    (  Yes   If yes, briefly describe.

	

	As above plus noise and shadow flicker assessment.



Consultation program

	Has a consultation program conducted to date for the project?

(  No    (  Yes   If yes, outline the consultation activities and the stakeholder groups or organisations consulted.



	Consultation to coincide with lodgement of this referral.

	

	Has a program for future consultation been developed?

(  NYD    (  No    (  Yes   If yes, briefly describe.

	Refer to Section 11of the attached Notification Report.

	


Authorised person for proponent:  

I, Tobias Geiger, General Manager, WestWind Energy Pty Ltd, confirm that the information contained in this form is, to my knowledge, true and not misleading.  
Signature _________________________

   Date
Person who prepared this referral: 

I, Phillip Burn, Project Developer WestWind Energy, confirm that the information contained in this form is, to my knowledge, true and not misleading.  
Signature _________________________
   Date




























Version 3:  January 2007

Version 4:  September 2007


